## 2023 September (3)
Risø HDRL | Validation and Process Control for Electron Beam Sterilization - 2025
| Monday | Tuesday | Wednesday | Thursday | Friday
9:00 | 0 Introduction | Summary of Monday activities | Summary of Tuesday activities | Summary of Wednesday activities | Summary of Thursday activities
| 1 Irradiation facilities | 6 Measurement traceability | 10 International standards - ISO 11137 and ASTM | 11 Biocompatibility | 16 Dose measurement verification - comparisons
10:00 |  | 7 Measurement uncertainty
| 2 Dosimetry systems |  | Recap IQ - OQ | 12 Microbiology Introduction Methods 1 | 17 Process control
| 3 Calibration | 8 Influence of environment on dosimeter response | OQ - Operational qualification
11:00 | Prepare calib dosimeters for irradiation |  | Measure dosimeters |  | 18 Radiation effects on polymers
| 4 Validation - IQ-OQ | 9 RisøScan | Analysis of data | 13 Microbiology Inactivation Methods 2
| Required measurements |  |  |  | 19 Establish maximum acceptable dose
12:00 | LUNCH
13:00 | Prepare OQ dosimeters for irradiation | Recap Calibration | Recap PQ | 13 Microbiology (cont) | 20 Audit of device manufacturer and contract irradiator
Exercices
14:00 | 5 PQ | Measure dosimeters | Performance qualification | 14 Microbiology Establish sterilization dose | Wrapping up
| Dose mapping |  | Measure dosimeters
15:00 | Prepare products for irradiation | Establish calibration functions | Analysis of data |  | Close: approx. 15:00
16:00 |  | for GEX DoseStix |  | Exercices
| Driving to Sterigenics | for B3/RisøScan | Establish process specification for sterilization | 15. Maintaining process effectiveness
17:00
| Evening: |  |  | Evening Dinner
Irradiation at Sterigenics 10 MeV electron accelerator facility